## 20241126 FOXA1 TSA DNA-cmpd_202
#Positive Hit Settings: dTm Boltzmann: > 2.0, dTm Derivative: > 2.0
# | Well | Protein | Ligand | Buffer | Salt | Task | Tm B | dTm B | B Fit | Tm B Start | Tm B End | Flag Indicator | Single/Multiple | Analysis Mode | Tm D | dTm D | High Background | High NPC | Algorithm Failure | Sparse Data | Low Signal | Poor Fit | Replicate Mismatch | Multiple Melts | Reference Mismatch | Analysis Group | Experiment File Name
1 | A01 |  |  |  |  | Reference | 42.996 | -0.11345 | 1.3268 | 25.2082 | 54.6886 | 0 | Single | Auto | 44.1748 | -0.064953 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
2 | A02 |  |  |  |  | Reference | 43.0442 | -0.065205 | 1.2785 | 25.2082 | 54.2 | 0 | Single | Auto | 44.0449 | -0.19486 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
3 | A03 |  |  |  |  | Reference | 43.2672 | 0.15782 | 1.289 | 25.2082 | 54.3629 | 0 | Single | Auto | 44.3047 | 0.064953 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
4 | A04 |  |  |  |  | Reference | 43.1303 | 0.020836 | 1.3128 | 25.2082 | 54.3629 | 0 | Single | Auto | 44.4346 | 0.19486 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
5 | A05 |  |  |  |  | Reference | 60.992 | 0.22089 | 1.4709 | 47.5221 | 67.0671 | 0 | Single | Auto | 61.3227 | 0.064957 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
6 | A06 |  |  |  |  | Reference | 60.9502 | 0.17907 | 1.4615 | 42.1472 | 67.3929 | 0 | Single | Auto | 61.4526 | 0.19486 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
7 | A07 |  |  |  |  | Reference | 60.5999 | -0.17118 | 1.4938 | 41.9843 | 66.9042 | 0 | Single | Auto | 61.1928 | -0.064953 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
8 | A08 |  |  |  |  | Reference | 60.5423 | -0.22879 | 1.4696 | 43.776 | 66.7414 | 0 | Single | Auto | 61.0629 | -0.19486 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
9 | B01 |  |  |  |  | Sample | 38.4438 | -4.6656 | 1.1286 | 25.2082 | 49.8023 | 0 | Single | Auto | 39.1084 | -5.1314 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
10 | B02 |  |  |  |  | Sample | 38.4095 | -4.6999 | 1.0973 | 25.2082 | 49.6395 | 0 | Single | Auto | 38.3289 | -5.9108 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
11 | B03 |  |  |  |  | Sample | 38.728 | -4.3814 | 1.0313 | 25.2082 | 51.2682 | 0 | Single | Auto | 38.4589 | -5.7809 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
12 | B04 |  |  |  |  | Sample | 37.3788 | -5.7306 | 1.0317 | 25.2082 | 49.8023 | 0 | Single | Auto | 37.2897 | -6.9501 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
13 | B05 |  |  |  |  | Sample | 59.8102 | -0.96092 | 1.9508 | 37.9125 | 66.9042 | 1 | Single | Auto | 60.4134 | -0.8444 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
14 | B06 |  |  |  |  | Sample | 57.5027 | -3.2684 | 1.3321 | 25.2082 | 65.6012 | 1 | Single | Auto | 60.0237 | -1.2341 | [7 empty] | Yes |  | AG 2 | 241126-tsa-flirtini.eds
15 | B07 |  |  |  |  | Sample | 59.2003 | -1.5708 | 1.7822 | 29.9316 | 66.0899 | 1 | Single | Auto | 60.0237 | -1.2341 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
16 | B08 |  |  |  |  | Sample | 59.4862 | -1.2849 | 1.6134 | 42.3101 | 66.4156 | 2 | Single | Auto | 60.2835 | -0.97431 | [5 empty] | Yes |  | Yes |  | AG 2 | 241126-tsa-flirtini.eds
17 | C01 |  |  |  |  | Sample | 41.9514 | -1.158 | 1.2697 | 25.2082 | 53.3856 | 0 | Single | Auto | 43.2655 | -0.97431 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
18 | C02 |  |  |  |  | Sample | 41.9361 | -1.1734 | 1.2888 | 25.2082 | 53.2227 | 0 | Single | Auto | 43.2655 | -0.97431 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
19 | C03 |  |  |  |  | Sample | 41.8124 | -1.2971 | 1.2679 | 25.2082 | 53.0598 | 0 | Single | Auto | 43.1356 | -1.1042 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
20 | C04 |  |  |  |  | Sample | 42.5317 | -0.5777 | 1.3078 | 25.2082 | 53.8742 | 0 | Single | Auto | 43.6552 | -0.58459 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
21 | C05 |  |  |  |  | Sample | 59.7554 | -1.0158 | 1.5423 | 36.9352 | 66.2527 | 1 | Single | Auto | 60.4134 | -0.8444 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
22 | C06 |  |  |  |  | Sample | 59.5975 | -1.1736 | 1.6222 | 31.3975 | 66.2527 | 1 | Single | Auto | 60.4134 | -0.8444 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
23 | C07 |  |  |  |  | Sample | 59.6535 | -1.1176 | 1.5878 | 37.0981 | 66.2527 | 1 | Single | Auto | 60.4134 | -0.8444 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
24 | C08 |  |  |  |  | Sample | 59.6058 | -1.1654 | 1.4913 | 41.17 | 66.0899 | 0 | Single | Auto | 60.2835 | -0.97431 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
25 | D01 |  |  |  |  | Sample | 41.1355 | -1.974 | 1.2185 | 25.2082 | 52.897 | 0 | Single | Auto | 42.486 | -1.7538 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
26 | D02 |  |  |  |  | Sample | 41.5669 | -1.5426 | 1.2126 | 25.2082 | 52.7341 | 0 | Single | Auto | 42.6159 | -1.6239 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
27 | D03 |  |  |  |  | Sample | 41.2436 | -1.8658 | 1.1887 | 25.2082 | 52.7341 | 0 | Single | Auto | 42.0963 | -2.1435 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
28 | D04 |  |  |  |  | Sample | 42.0221 | -1.0873 | 1.2555 | 25.2082 | 55.3401 | 0 | Single | Auto | 43.1356 | -1.1042 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
29 | D05 |  |  |  |  | Sample | 60.1387 | -0.63246 | 1.5357 | 41.4957 | 66.7414 | 1 | Single | Auto | 60.8031 | -0.45468 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
30 | D06 |  |  |  |  | Sample | 60.3236 | -0.44755 | 1.5834 | 39.3783 | 67.0671 | 1 | Single | Auto | 60.933 | -0.32477 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
31 | D07 |  |  |  |  | Sample | 60.0055 | -0.76565 | 1.5897 | 38.8897 | 66.5785 | 1 | Single | Auto | 60.6732 | -0.58459 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
32 | D08 |  |  |  |  | Sample | 60.3013 | -0.46978 | 1.5364 | 41.6586 | 66.9042 | 1 | Single | Auto | 60.933 | -0.32477 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
33 | E01 |  |  |  |  | Sample | 39.9469 | -3.1625 | 1.1096 | 25.2082 | 52.0826 | 0 | Single | Auto | 40.2776 | -3.9622 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
34 | E02 |  |  |  |  | Sample | 40.1873 | -2.9221 | 1.1239 | 25.2082 | 52.0826 | 0 | Single | Auto | 41.057 | -3.1828 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
35 | E03 |  |  |  |  | Sample | 40.4306 | -2.6788 | 1.1421 | 25.2082 | 52.2455 | 0 | Single | Auto | 41.1869 | -3.0528 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
36 | E04 |  |  |  |  | Sample | 39.6082 | -3.5012 | 1.1289 | 25.2082 | 51.7568 | 0 | Single | Auto | 41.8365 | -2.4033 | [9 empty] | AG 1 | 241126-tsa-flirtini.eds
37 | E05 |  |  |  |  | Sample | 61.5666 | 0.79553 | 1.5679 | 33.5148 | 67.8815 | 1 | Single | Auto | 62.2321 | 0.97432 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
38 | E06 |  |  |  |  | Sample | 61.6183 | 0.84718 | 1.4655 | 43.1245 | 68.2072 | 0 | Single | Auto | 62.2321 | 0.97432 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
39 | E07 |  |  |  |  | Sample | 61.4928 | 0.72168 | 1.4125 | 41.0071 | 68.0444 | 0 | Single | Auto | 62.2321 | 0.97432 | [9 empty] | AG 2 | 241126-tsa-flirtini.eds
40 | E08 |  |  |  |  | Sample | 61.6304 | 0.85927 | 1.5139 | 41.9843 | 68.2072 | 1 | Single | Auto | 62.2321 | 0.97432 | [5 empty] | Yes |  |  |  | AG 2 | 241126-tsa-flirtini.eds
# | Hits B | Hits D | Protein | Ligand | Buffer | Salt | Task | Analysis Group | Replicate Mismatch | Reference Mismatch | Tm B - Mean | Tm B Lower 95% | Tm B Upper 95% | Tm B - Median | Tm B - Std. Error | Tm B - Min | Tm B - Max | dTm B - Mean | dTm B Lower 95% | dTm B Upper 95% | dTm B - Median | dTm B - Std. Error | dTm B - Min | dTm B - Max | Tm D - Mean | Tm D Lower 95% | Tm D Upper 95% | Tm D - Median | Tm D - Std. Error | Tm D - Min | Tm D - Max | dTm D - Mean | dTm D Lower 95% | dTm D Upper 95% | dTm D - Median | dTm D - Std. Error | dTm D - Min | dTm D - Max
1 | [6 empty] | Sample | AG 1 |  |  | 40.4583 | 39.6204 | 41.2962 | 40.783 | 0.3931 | 37.3788 | 42.5317 | -2.6511 | -3.489 | -1.8132 | -2.3264 | 0.3931 | -5.7306 | -0.5777 | 41.325 | 40.2332 | 42.4167 | 41.9664 | 0.5122 | 37.2897 | 43.6552 | -2.9148 | -4.0066 | -1.8231 | -2.2734 | 0.5122 | -6.9501 | -0.58459
2 | [6 empty] | Reference | AG 1 |  |  | 43.1094 | 42.9201 | 43.2987 | 43.0872 | 0.059487 | 42.996 | 43.2672 | 0 | -0.18932 | 0.18932 | -0.022184 | 0.059487 | -0.11345 | 0.15782 | 44.2398 | 43.9729 | 44.5067 | 44.2398 | 0.083855 | 44.0449 | 44.4346 | 0 | -0.26686 | 0.26686 | 0 | 0.083855 | -0.19486 | 0.19486
3 | [6 empty] | Sample | AG 2 |  |  | 60.1055 | 59.5272 | 60.6839 | 59.9078 | 0.27134 | 57.5027 | 61.6304 | -0.66558 | -1.2439 | -0.087234 | -0.86328 | 0.27134 | -3.2684 | 0.85927 | 60.9087 | 60.4649 | 61.3524 | 60.5433 | 0.2082 | 60.0237 | 62.2321 | -0.34913 | -0.79289 | 0.094636 | -0.71449 | 0.2082 | -1.2341 | 0.97432
4 | [6 empty] | Reference | AG 2 |  |  | 60.7711 | 60.4008 | 61.1415 | 60.7751 | 0.11637 | 60.5423 | 60.992 | 0 | -0.37034 | 0.37034 | 0.0039463 | 0.11637 | -0.22879 | 0.22089 | 61.2578 | 60.9909 | 61.5247 | 61.2578 | 0.083855 | 61.0629 | 61.4526 | 9.5367e-07 | -0.26686 | 0.26687 | 1.9073e-06 | 0.083855 | -0.19486 | 0.19486

## Sheet1
DMSO | 44.1748 | 44.0449 | 44.3047 | 44.4346 | 61.3227 | 61.4526 | 61.1928 | 61.0629
ST-0176773 | 39.1084 | 38.3289 | 38.4589 | 37.2897 | 60.4134 | 60.0237 | 60.0237 | 60.2835
ST-0136751 | 43.2655 | 43.2655 | 43.1356 | 43.6552 | 60.4134 | 60.4134 | 60.4134 | 60.2835
ST-0176936 | 42.486 | 42.6159 | 42.0963 | 43.1356 | 60.8031 | 60.933 | 60.6732 | 60.933
ST-0136747 | 40.2776 | 41.057 | 41.1869 | 41.8365 | 62.2321 | 62.2321 | 62.2321 | 62.2321
| Apo Tm | SD | dTM | DNA Tm | SD | dTM
DMSO | 44.2398 | 0.16771 | 0 | 61.2578 | 0.16771 | 0
ST-0176773 | 38.2965 | 0.75283 | -5.9433 | 60.186 | 0.19486 | -1.0717
ST-0136751 | 43.3304 | 0.22501 | -0.90936 | 60.3809 | 0.064955 | -0.87688
ST-0176936 | 42.5835 | 0.42922 | -1.6563 | 60.8356 | 0.12438 | -0.4222
ST-0136747 | 41.0895 | 0.63973 | -3.1503 | 62.2321 | 0 | 0.97431